DNA Isolation From BAC & PAC Clones

This is a rapid alkaline lysis miniprep method for isolating DNA from large PAC clones.   It is a modification of a

standard Qiagen-Tip method that uses no organic extractions or columns.  The method works very well for doing

analytical restriction digests of PAC clones and can be scaled up if necessary.

1. Solutions

P1 (filter sterilized, 4oC)

15mM Tris, pH 8

10 mM EDTA

100 ug/ml RNase A

P2 (filter sterilized, room temp)

0.2N NaOH

1% SDS

P3 (autoclaved, 4oC)

3M KOAc, pH 5.5

2. Method

1. Using a sterile toothpick, inoculate a single isolated bacterial colony

into 2 ml TB (or LB)media supplemented with 25 ug/ml kanamycin (for PACs) or

20 ug/ml chloramphenicol (for BACs). Use a 12-15 ml snap-cap polypropylene

tube. Grow overnight (up to 16 h) shaking at 225-300 rpm at 37°C.

2. Remove toothpicks using forceps. Centrifuge (SM24 or similar rotor) at 3,000 rpm for

10 min. of spin in the Sorvall. The temperature ot the spin is not critical at this stage.

3. Discard supernatants. Resuspend (vortex) each pellet in 0.3 ml P1 solution. Add 0.3 ml

of P2 solution and gently shake tube to mix the contents. Let sit at room temperature for 5

min or so. The appearance of the suspension should change from very turbid to almost

translucent.

4. Slowly add 0.3 ml P3 solution to each tube and gently shake during addition. A thick

white precipitate of protein and E. coli DNA will form. After adding P3 solution to every

tube, place the tubes on ice for at least 5 min.

5. Place tubes in the SM24 rotor and spin at 10,000 rpm for 10 min at 4 oC.

6. Remove tubes from centrifuge and place on ice. Transfer supernatant using a P1000

or a disposable pipette to a 1.5 ml eppendorf tube that contains 0.8 ml ice-cold

isopropanol. Try to avoid any white precipitate material. Mix by inverting tube a few times;

place tubes on ice for at least 5 min. At this stage, samples can be left at -20° C

overnight.

7. Spin in cold microfuge for 15 min.

8. Remove supernatant and add 0.5 ml of 70% EtOH to each tube. Invert tubes several

times to wash the DNA pellets. Spin in cold microfuge for 5 min. Optional --repeat step 8.

9. Remove as much of the supernatant as possible. Occasionally, pellets will become

dislodged from the tube so it is better to carefully aspirate off the supernatant rather than

pour it off.

10. Air dry pellets at room temp. When the DNA pellets turn from while to translucent in

appearance, i.e., when most of the ethanol has evaporated, resuspend each in 40 ul TE.

Do not use a narrow bore pipets tip to mechanically resuspend DNA sample; rather, allow

the solution to sit in the tube with occasional tapping of the bottom of the tube. For large

PAC clones resuspension may take over 1 hour.

11. Use 5 ul for digestion with Notl or other rare cutter enzymes. There are Notl sites

flanking the Sp6 and T7 promotor regions of the CYPAC2 vector; therefore, this is a very

useful enzyme for analysis of insert size and for partial digest restriction mapping. Use

7-10 ul for digestion with a more frequent cutter such as BamHI or EcoRI.

Vector pBACe3.6 Information/Map

In the course of our work, we experienced feedback from users of our PAC clones at several major sequencing

centers.  A minor disadvantage was the size of the PAC vector (16 kb left in recombinants) as compared to the size of

the BAC vector (7 to 8 kb, depending on the vector variant).  For the use of BACs or PACs with inserts in the range

of 100-150 kb, this means that a larger fraction of the clones in shotgun sequence libraries (M13 or pUC) will be

derived from the PAC/BAC vector sequence, hence resulting in a few percent increase in the cost per base pair of final

sequence.

In view of these observations and because the existing BAC libraries were of insufficient size, we have improved the

BAC vector (Shizuya H. et. al. 1992, Proc. Natl. Acad. Sci. USA 89:8794-8797) to include some of the retrofitting

options included in the pPAC4 vector

The new vector has been named pBACe3.6.  Specifically, we maintained the wildtype loxP site, added an additional

mutant loxP511 site, a site for the intron encoded nuclease PI-SceI and the Tn7att site.  In addition, we changed the

cloning area to allow positive selection for inserts containing BAC clones through inclusion of the sacBII gene from

Nat Sternberg's P1 vector (Pierce et al. 1992, Proc. Natl. Acad. Sci. USA 89:2056-2060) and disrupted the BamHI

cloning site with a fragment containing a pUC plasmid.

The presence of this pUC plasmid serves dual functions: high copy number of the vector for preparing large quantities

and appropriate disruption of the sacBII gene to incre3ase viability of the vector containing strain.  In addition to the

BNamHI site, 5 additional sites can be used for preparing BAC libraries: SacI, SacII, MluI, EcoRI, and AvaIII.  The

EcoRI site is particularly important in view of the use of this site in the RARE cleavage procedure, thus opening the

possibility for selective cloning of similar fragments from different DNA donors.

Reference: Frengen, E. et al. (1999) A Modular, Positive Selection Bacterial Artificial Chromosome Vector with

Multiple Cloning Sites. Genomics 58: 250-253. Reprints availiable upon request.

pBACe3.6 clones have chloramphenicol antibiotic resistance.  Clones should be grown in LB containing 20ug

chloramphenicol/ml.