Low % Acrylamide gels

|  | 6% running (lower) | 4% loading (upper) |
| --- | --- | --- |
| ddH2O | 5.5ml | 6.17ml |
| 4x Buffer (upper or lower) | 2.5ml | 2.5ml |
| Acrylamide | 2.0ml | 1.33ml |
| Ammonium persulphate (20%) | 22.5(l | 50(l |
| TEMED | 5.0(l | 10.0(l |

- Always add TEMED last

- clean glass plates very well

- add 95% EtOH or MetOH over running gel after pouring